Table S1. Frozen endpoint definitions.

| Criterion | Rule | Meaning |
| --- | --- | --- |
| warm | warm_fraction ≥ 0.50 | fraction of the protocol window with 43 ≤ T ≤ 50 °C |
| ros | ros_threshold_fraction ≥ 0.50 | fraction of the window with ROS dose at or above the singlet-oxygen threshold |
| hypoxia_ok | hypoxic_failure_fraction ≤ 0.35 | fraction of the window with O2 < 5 µM AND ROS below threshold |
| safe_heat | overheat_fraction ≤ 0.05 and max_T ≤ 55 °C | no thermal injury |
| success | warm AND ros AND hypoxia_ok AND safe_heat | all four criteria simultaneously |
| thermal_failure | NOT warm AND safe_heat | insufficient heating without thermal injury |
| ros_failure | NOT ros | ROS dose below threshold |
| overheat_failure | NOT safe_heat | thermal injury |

Endpoint definitions were frozen before any controller outcome was examined. warm_fraction is the fraction of the protocol window with 43 ≤ T ≤ 50 °C; overheat_fraction is the fraction with T > 55 °C; ros_threshold_fraction is the fraction with ROS dose at or above the singlet-oxygen threshold; hypoxic_failure_fraction is the fraction with O2 < 5 µM and ROS below threshold.